Appendix B. Tuberculosis (TB) risk assessment worksheet

This model worksheet should be considered for use in performing TB risk assessments for health-care facilities and nontraditional facility-based settings. Facilities with more than one type of setting will need to apply this table to each setting.

Scoring √ or Y = Yes X or N = No NA = Not Applicable

1.  Incidence of TB

| What is the incidence of TB in your community (county or region served by the health-care setting), and how does it compare with the state and national average? What is the incidence of TB in your facility and specific settings and how do those rates compare? (Incidence is the number of TB cases in your community the previous year. A rate of TB cases per 100,000 persons should be obtained for comparison.)* This information can be obtained from the state or local health department. | Community rate_______ State rate ____________ National rate _________ Facility rate __________ Department 1 rate _______ Department 2 rate _______ Department 3 rate _______ |
| --- | --- |
| Are patients with suspected or confirmed TB disease encountered in your setting (inpatient and outpatient)? | Yes No |
| If yes, how many patients with suspected and confirmed TB disease are treated in your health-care setting in 1 year (inpatient and outpatient)? Review laboratory data, infection-control records, and databases containing discharge diagnoses. | Year No. patients Suspected Confirmed 1 year ago _____ _____ 2 years ago _____ _____ 5 years ago _____ _____ |
| If no, does your health-care setting have a plan for the triage of patients with suspected or confirmed TB disease? | Yes No |
| Currently, does your health-care setting have a cluster of persons with confirmed TB disease that might be a result of ongoing transmission of Mycobacterium tuberculosis within your setting (inpatient and outpatient)? | Yes No |

2.  Risk Classification

| Inpatient settings |  |
| --- | --- |
| How many inpatient beds are in your inpatient setting? |  |
| How many patients with TB disease are encountered in the inpatient setting in 1 year? Review laboratory data, infection-control records, and databases containing discharge diagnoses. | Previous year ______ 5 years ago ______ |
| Depending on the number of beds and TB patients encountered in 1 year, what is the risk classification for your inpatient setting? (See Appendix C.) |  Low risk  Medium risk  Potential ongoing transmission |
| Does your health-care setting have a plan for the triage of patients with suspected or confirmed TB disease? | Yes No |
| Outpatient settings |  |
| How many TB patients are evaluated at your outpatient setting in 1 year? Review laboratory data, infection-control records, and databases containing discharge diagnoses. | Previous year ______ 5 years ago ______ |
| Is your health-care setting a TB clinic? (If yes, a classification of at least medium risk is recommended.) | Yes No |
| Does evidence exist that a high incidence of TB disease has been observed in the community that the health-care setting serves? | Yes No |
| Does evidence exist of person-to-person transmission of M. tuberculosis in the health-care setting? (Use information from case reports. Determine if any tuberculin skin test [TST] or blood assay for M. tuberculosis [BAMT] conversions have occurred among health-care workers [HCWs]). | Yes No |
| Does evidence exist that ongoing or unresolved health-care–associated transmission has occurred in the health-care setting (based on case reports)? | Yes No |
| Is there a high incidence of immunocompromised patients or HCWs in the health-care setting? | Yes No |
| Have patients with drug-resistant TB disease been encountered in your health-care setting within the previous 5 years? | Yes No Year ________ |
| When was the first time a risk classification was done for your health-care setting? | __________________ |
| Considering the items above, would your health-care setting need a higher risk classification? | Yes No |
| Depending on the number of TB patients evaluated in 1 year, what is the risk classification for your outpatient setting? (See Appendix C) |  Low risk  Medium risk  Potential ongoing transmission |
| Does your health-care setting have a plan for the triage of patients with suspected or confirmed TB disease? | Yes No |
| Nontraditional facility-based settings |  |
| How many TB patients are encountered at your setting in 1 year? | Previous year ______ 5 years ago ______ |
| Does evidence exist that a high incidence of TB disease has been observed in the community that the setting serves? | Yes No |
| Does evidence exist of person-to-person transmission of M. tuberculosis in the setting? | Yes No |
| Have any recent TST or BAMT conversions occurred among staff or clients? | Yes No |
| Is there a high incidence of immunocompromised patients or HCWs in the setting? | Yes No |
| Have patients with drug-resistant TB disease been encountered in your health-care setting within the previous 5 years? | Yes No Year ________ |
| When was the first time a risk classification was done for your setting? |  |
| Considering the items above, would your setting require a higher risk classification? | Yes No |
| Does your setting have a plan for the triage of patients with suspected or confirmed TB disease? | Yes No |
| Depending on the number of patients with TB disease who are encountered in a nontraditional setting in 1 year, what is the risk classification for your setting? (See Appendix C) |  Low risk  Medium risk  Potential ongoing transmission |

3.  Screening of HCWs for M. tuberculosis Infection

| Does the health-care setting have a TB screening program for HCWs? | Yes No |  |  |
| --- | --- | --- | --- |
| If yes, which HCWs are included in the TB screening program? (Check all that apply.)  Physicians  Mid-level practitioners (nurse practitioners [NP] and physician’s assistants [PA])  Nurses  Administrators  Laboratory workers  Respiratory therapists  Physical therapists  Contract staff  Construction or renovation workers  Service workers |  Janitorial staff  Maintenance or engineering staff  Transportation staff  Dietary staff  Receptionists  Trainees and students  Volunteers  Others_________________ |  |  |
| Is baseline skin testing performed with two-step TST for HCWs? |  |  | Yes No |
| Is baseline testing performed with QFT or other BAMT for HCWs? |  |  | Yes No |
| How frequently are HCWs tested for M. tuberculosis infection? |  |  |  |
| Are the M. tuberculosis infection test records maintained for HCWs? |  |  | Yes No |
| Where are the M. tuberculosis infection test records for HCWs maintained? Who maintains the records? |  |  |  |
| If the setting has a serial TB screening program for HCWs to test for M. tuberculosis infection, what are the conversion rates for the previous years? † 1 year ago _________________ 4 years ago _________________ 2 years ago _________________ 5 years ago _________________ 3 years ago _________________ |  |  |  |
| Has the test conversion rate for M. tuberculosis infection been increasing or decreasing, or has it remained the same over the previous 5 years? (check one) |  |  Increasing  Decreasing  No change |  |
| Do any areas of the health-care setting (e.g., waiting rooms or clinics) or any group of HCWs (e.g., lab workers, emergency department staff, respiratory therapists, and HCWs who attend bronchoscopies) have a test conversion rate for M. tuberculosis infection that exceeds the health-care setting’s annual average? |  | Yes No If yes, list _________________________ _________________________________ _________________________________ |  |
| For HCWs who have positive test results for M. tuberculosis infection and who leave employment at the health setting, are efforts made to communicate test results and recommend follow-up of latent TB infection (LTBI) treatment with the local health department or their primary physician? |  | Yes No Not applicable |  |

4.  TB Infection-Control Program

| Does the health-care setting have a written TB infection-control plan? |  | Yes No |
| --- | --- | --- |
| Who is responsible for the infection-control program? |  |  |
| When was the TB infection-control plan first written? |  |  |
| When was the TB infection-control plan last reviewed or updated? |  |  |
| Does the written infection-control plan need to be updated based on the timing of the previous update (i.e., >1 year, changing TB epidemiology of the community or setting, the occurrence of a TB outbreak, change in state or local TB policy, or other factors related to a change in risk for transmission of M. tuberculosis)? |  | Yes No |
| Does the health-care setting have an infection-control committee (or another committee with infection control responsibilities)? |  | Yes No |
| If yes, which groups are represented on the infection-control committee? (Check all that apply.)  Physicians  Nurses  Epidemiologists  Engineers  Pharmacists |  Laboratory personnel  Health and safety staff  Administrator  Risk assessment  Quality control (QC)  Others (specify)_________ |  |
| If no, what committee is responsible for infection control in the setting? |  |  |

5.  Implementation of TB Infection-Control Plan Based on Review by Infection-Control Committee

| Has a person been designated to be responsible for implementing an infection-control plan in your health-care setting? If yes, list the name: _________________________ | Yes No |
| --- | --- |
| Based on a review of the medical records, what is the average number of days for the following: - Presentation of patient until collection of specimen _____ - Specimen collection until receipt by laboratory _____ - Receipt of specimen by laboratory until smear results are provided to health-care provider _____ - Diagnosis until initiation of standard antituberculosis treatment _____ - Receipt of specimen by laboratory until culture results are provided to health-care provider _____ - Receipt of specimen by laboratory until drug-susceptibility results are provided to health-care provider _____ - Receipt of drug-susceptibility results until adjustment of antituberculosis treatment, if indicated _____ - Admission of patient to hospital until placement in airborne infection isolation (AII) _____ |  |
| Through what means (e.g., review of TST or BAMT conversion rates, patient medical records, and time analysis) are lapses in infection control recognized? |  |
| What mechanisms are in place to correct lapses in infection control? |  |
| Based on measurement in routine QC exercises, is the infection-control plan being properly implemented? | Yes No |
| Is ongoing training and education regarding TB infection-control practices provided for HCWs? | Yes No |

6. Laboratory Processing of TB-Related Specimens, Tests, and Results Based on Laboratory Review

| Which of the following tests are either conducted in-house at your health-care setting’s laboratory or sent out to a reference laboratory? | In-house | Sent out |
| --- | --- | --- |
| Acid-fast bacilli (AFB) smears |  |  |
| Culture using liquid media (e.g., Bactec and MB-BacT) |  |  |
| Culture using solid media |  |  |
| Drug-susceptibility testing |  |  |
| Nucleic acid amplification (NAA) testing |  |  |
| What is the usual transport time for specimens to reach the laboratory for the following tests? AFB smears ___________ Culture using liquid media (e.g., Bactec, MB-BacT) ___________ Culture using solid media ___________ Drug-susceptibility testing ___________ Other (specify) ___________ NAA testing ___________ |  |  |
| Does the laboratory at your health-care setting or the reference laboratory used by your health-care setting report AFB smear results for all patients within 24 hours of receipt of specimen? What is the procedure for weekends? | Yes No ______________________ ______________________ |  |

7. Environmental Controls

| Which environmental controls are in place in your health-care setting? (Check all that apply and describe) Environmental control Description  AII rooms _____________________  Local exhaust ventilation (enclosing devices and exterior devices) _____________________  General ventilation (e.g., single-pass system, recirculation system.) _____________________  Air-cleaning methods (e.g., high-efficiency particulate air [HEPA] filtration and ultraviolet germicidal irradiation [UVGI]) ___________________________________________________________ |  |  |  |
| --- | --- | --- | --- |
| What are the actual air changes per hour (ACH) and design for various rooms in the setting? Room ACH Design _____________________________________________________________________________________ _____________________________________________________________________________________ _____________________________________________________________________________________ _____________________________________________________________________________________ _____________________________________________________________________________________ |  |  |  |
| Which of the following local exterior or enclosing devices such as exhaust ventilation devices are used in your health-care setting? (Check all that apply)  Laboratory hoods  Booths for sputum induction  Tents or hoods for enclosing patient or procedure |  |  |  |
| What general ventilation systems are used in your health-care setting? (Check all that apply)  Single-pass system  Variable air volume (VAV)  Constant air volume (CAV)  Recirculation system  Other____________________ |  |  |  |
| What air-cleaning methods are used in your health-care setting? (Check all that apply) HEPA filtration  Fixed room-air recirculation systems  Portable room-air recirculation systems UVGI  Duct irradiation  Upper-air irradiation  Portable room-air cleaners |  |  |  |
| How many AII rooms are in the health-care setting? |  |  |  |
| What ventilation methods are used for AII rooms? (Check all that apply) Primary (general ventilation):  Single-pass heating, ventilating, and air conditioning (HVAC)  Recirculating HVAC systems Secondary (methods to increase equivalent ACH):  Fixed room recirculating units  HEPA filtration  UVGI  Other (specify) _________________ |  |  |  |
| Does your health-care setting employ, have access to, or collaborate with an environmental engineer (e.g., professional engineer) or other professional with appropriate expertise (e.g., certified industrial hygienist) for consultation on design specifications, installation, maintenance, and evaluation of environmental controls? |  |  | Yes No |
| Are environmental controls regularly checked and maintained with results recorded in maintenance logs? |  |  | Yes No |
| Are AII rooms checked daily for negative pressure when in use? |  |  | Yes No |
| Is the directional airflow in AII rooms checked daily when in use with smoke tubes or visual checks? |  |  | Yes No |
| Are these results readily available? |  |  | Yes No |
| What procedures are in place if the AII room pressure is not negative? | ______________________________________ |  |  |
| Do AII rooms meet the recommended pressure differential of 0.01-inch water column negative to surrounding structures? |  |  | Yes No |

8. Respiratory-Protection Program

| Does your health-care setting have a written respiratory-protection program? |  | Yes No |
| --- | --- | --- |
| Which HCWs are included in the respiratory protection program? (Check all that apply)  Physicians  Mid-level practitioners (NPs and PAs)  Nurses  Administrators  Laboratory personnel  Contract staff  Construction or renovation staff  Service personnel |  Janitorial staff  Maintenance or engineering staff  Transportation staff  Dietary staff  Students  Others (specify)_________________ _______________________________ _______________________________ _______________________________ _______________________________ |  |
| Are respirators used in this setting for HCWs working with TB patients? If yes, include manufacturer, model, and specific application (e.g., ABC model 1234 for bronchoscopy and DEF model 5678 for routine contact with infectious TB patients). Manufacturer Model Specific application __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ ______________________________________________________________________________________ |  |  |
| Is annual respiratory-protection training for HCWs performed by a person with advanced training in respiratory protection? |  | Yes No |
| Does your health-care setting provide initial fit testing for HCWs? If yes, when is it conducted? ____________________________ |  | Yes No |
| Does your health-care setting provide periodic fit testing for HCWs? If yes, when and how frequently is it conducted? ____________________________ |  | Yes No |
| What method of fit testing is used? Describe. ____________________________________________________________________________________________________________________________________________________________________________ |  |  |
| Is qualitative fit testing used? |  | Yes No |
| Is quantitative fit testing used? |  | Yes No |

9. Reassessment of TB risk

| How frequently is the TB risk assessment conducted or updated in the health-care setting? |  |
| --- | --- |
| When was the last TB risk assessment conducted? |  |
| What problems were identified during the previous TB risk assessment? - __________________________________________________________________________________________________________________________________________________________ - _____________________________________________________________________________ _____________________________________________________________________________ - _____________________________________________________________________________ _____________________________________________________________________________ - _____________________________________________________________________________ _____________________________________________________________________________ - _____________________________________________________________________________ _____________________________________________________________________________ |  |
| What actions were taken to address the problems identified during the previous TB risk assessment? - __________________________________________________________________________________________________________________________________________________________ - _____________________________________________________________________________ _____________________________________________________________________________ - _____________________________________________________________________________ _____________________________________________________________________________ - _____________________________________________________________________________ _____________________________________________________________________________ - _____________________________________________________________________________ _____________________________________________________________________________ |  |
| Did the risk classification need to be revised as a result of the last TB risk assessment? | Yes No |

*	If the population served by the health-care facility is not representative of the community in which the facility is located, an alternate comparison population might be appropriate.

†	Test conversion rate is calculated by dividing the number of conversions among HCWs by the number of HCWs who were tested and had prior negative results during a certain period (see Supplement, Surveillance and Detection of M. tuberculosis infections in Health-Care Settings).